| Worksheet Revision No.: |  | Serial No.: |  |
| --- | --- | --- | --- |
| Customer: |  | Completed by/Date: |  |
| Project: |  | Reviewed by/Date: |  |
| SOR No.: |  | Quote No.: |  | Isolator Item No.: |  |

Item No. to be completed by DynAmp

INPUT   (Choose Unidirectional or Bi-directional)

Unidirectional

Range : 	  0V to 10V…3600V

Scaling :  Start Value ( 0% F.S. )  	     	End Value ( 100% F.S. )

Bi-directional

Range : 	  0V to ±10V…±3600V

Scaling :  Start Value ( 0% F.S. )   	     	End Value ( ±100% F.S. )

OUTPUT    ( Choose Unidirectional or Bi-directional )

Unidirectional

Range : 	  0V to 200mV…10V  	  0mA to 1mA…20mA		  4mA to 20mA

Scaling :  Start Value ( 0% F.S. )    	     	End Value ( 100% F.S. )

Bi-directional

Range : 	  0V to ±200mV…±10V   	  0mA to ±1mA…±20mA

+4mA to +12mA to +20mA

Scaling :  Start Value ( 0% F.S. )  	     		End Value ( ±100% F.S. )

ACCURACY				  0.3%	  0.15%  (additional charge)

BANDWIDTH				  < 10Hz	  < 4kHz

Comments / Special Instructions:

NOTE:  All comments, corrections and changes must be initialed and dated.